## Sheet1
[10 empty] | Note: Depth meaured from GS |  | Note: From 4/8/19 forward, depth measured from Well Head
JAB | Monitoring Wells (13) Biweekly Measurements | [8 empty] | DATE of Reading |  | DATE of Reading |  | DATE of Reading |  | DATE of Reading |  | DATE of Reading |  | DATE of Reading |  | DATE of Reading |  | DATE of Reading |  | DATE of Reading |  | DATE of Reading |  | DATE of Reading |  | DATE of Reading |  | DATE of Reading |  | DATE of Reading |  | DATE of Reading |  | DATE of Reading
[10 empty] | 2019-03-22 |  | 2019-04-08 |  | 2019-04-23 |  | 2019-05-06 |  | 2019-05-17 |  | 2019-05-30 |  | 2019-06-13 |  | 2019-06-27 |  | 2019-07-10 |  | 2019-07-31 |  | 2019-08-12 |  | 2019-08-27 |  | 2019-09-11 |  | 9/30/2019 JLM |  | 2019-10-16 |  | 2019-10-30
| USBR Well No. | Ground Surface Elevation (ft) | Well Head elevation | TID Dedicated? | Photo | Trend Line | Notes | Depth of Well casing (TID) (ft) |  | Depth to Groundwater (ft) | Elevation of Groundwater | Depth to Groundwater (ft) | Elevation of Groundwater | Depth to Groundwater (ft) | Elevation of Groundwater | Depth to Groundwater (ft) | Elevation of Groundwater | Depth to Groundwater (ft) | Elevation of Groundwater | Depth to Groundwater (ft) | Elevation of Groundwater | Depth to Groundwater (ft) | Elevation of Groundwater | Depth to Groundwater (ft) | Elevation of Groundwater | Depth to Groundwater (ft) | Elevation of Groundwater | Depth to Groundwater (ft) | Elevation of Groundwater | Depth to Groundwater (ft) | Elevation of Groundwater | Depth to Groundwater (ft) | Elevation of Groundwater | Depth to Groundwater (ft) | Elevation of Groundwater | Depth to Groundwater (ft) | Elevation of Groundwater | Depth to Groundwater (ft) | Elevation of Groundwater | Depth to Groundwater (ft) | Elevation of Groundwater
1 | 202407C1 | 257.1 | 258.6 | Yes | 202407C1 | 202407C1 |  | 250- |  | 159 | 98.1 | 161 | 97.6 | 164 | 94.6 | 158 | 100.6 | 159 | 99.6 | 164 | 94.6 | 158 | 100.6 | 156 | 102.6 | 154 | 104.6 | 153 | 105.6 | 152 | 106.6 | 153 | 105.6 | 152 | 106.6 | 163 | 95.6 | 152 | 106.6 | 155 | 103.6
[8 empty] | 540- |  | 171 | 86.1 | 174 | 84.6 | 175 | 83.6 | 185 | 73.6 | 190 | 68.6 | 178 | 80.6 | 179 | 79.6 | 196 | 62.6 | 197 | 61.6 | 190 | 68.6 | 190 | 68.6 | 203 | 55.6 | 202 | 56.6 | 200 | 58.6 | 198 | 60.6 | 199 | 59.6
2 | 212404F1 | 240.4 | 241.1 | No | 212404F1 | 212404F1 |  |  |  | 160 | 80.4 | 123 | 118.1 | 126 | 115.1 | 126 | 115.1 | 123 | 118.1 | 123 | 118.1 | 125 | 116.1 | 125 | 116.1 | 125 | 116.1 | 127 | 114.1 | 127 | 114.1 | 127 | 114.1 | 129 | 112.1 | 126 | 115.1 | 125 | 116.1 | 121 | 120.1
3 | 212302C1 | 226.2 | 226.8 | No | 212302C1 | 212302C1 | couldn't open |  |  | N/A | N/A | 147 | 79.8 | 146 | 80.8 | 144 | 82.8 | 145 | 81.8 | 143 | 83.8 | 141 | 85.8 | 141 | 85.8 | 140 | 86.8 | 138 | 88.8 | 136 | 90.8 | 137 | 89.8 | 134 | 92.8 | 132 | 94.8 | 131 | 95.8 | 132 | 94.8
4 | 212305A2 | 216 | 216.6 | No | 212305A2 | 212305A2 |  |  |  | 151 | 65 | 156 | 60.6 | 166 | 50.6 | 156 | 60.6 | 155 | 61.6 | 155 | 61.6 | 153 | 63.6 | 156 | 60.6 | 154 | 62.6 | 153 | 63.6 | 157 | 59.6 | 158 | 58.6 | 153 | 63.6 | 150 | 66.6 | 151 | 65.6 | 145 | 71.6
5 | 202201H1 | 229.7 | 230.4 | No | 202201H1 | 202201H1 | oily |  |  | 152 | 77.7 | 135 | 95.4 | 123 | 107.4 | 119 | 111.4 | 116 | 114.4 | 111 | 119.4 | 106 | 124.4 | 101 | 129.4 | 99 | 131.4 | 102 | 128.4 | 102 | 128.4 | 104 | 126.4 | 108 | 122.4 | 113 | 117.4 | 111 | 119.4 | 114 | 116.4
6 | 192320C1 | 247.6 | 247.9 | No | 192320C1 | 192320C1 | oily |  |  | 126 | 121.6 | 182 | 65.9 | 125 | 122.9 | 124 | 123.9 | 124 | 123.9 | 122 | 125.9 | 122 | 125.9 | 127 | 120.9 | 124 | 123.9 | 123 | 124.9 | 126 | 121.9 | 127 | 120.9 | 127 | 120.9 | 120 | 127.9 | 119 | 128.9 | 117 | 130.9
7 | 202303L1 | 246.8 | 248 | No | 202303L1 | 202303L1 |  |  |  | 147 | 99.8 | 145 | 103 | 157 | 91 | 146 | 102 | 145 | 103 | 162 | 86 | 166 | 82 | 141 | 107 | 144 | 104 | 140 | 108 | 140 | 108 | 136 | 112 | 136 | 112 | 135 | 113 | 150 | 98 | 135 | 113
8 | 192420F1 | 284.7 | 285.9 | Yes | 192420F1 | 192420F1 |  | 200- |  | 147 | 137.7 | 146 | 139.9 | 165 | 120.9 | 171 | 114.9 | 150 | 135.9 | 174 | 111.9 | 157 | 128.9 | 142 | 143.9 | 142 | 143.9 | 143 | 142.9 | 141 | 144.9 | 147 | 138.9 | 143 | 142.9 | 142 | 143.9 | 143 | 142.9 | 142 | 143.9
[8 empty] | 490- |  | 162 | 122.7 | 164 | 121.9 | 185 | 100.9 | 173 | 112.9 | 171 | 114.9 | 174 | 111.9 | 173 | 112.9 | 174 | 111.9 | 174 | 111.9 | 178 | 107.9 | 179 | 106.9 | 198 | 87.9 | 196 | 89.9 | 195 | 90.9 | 193 | 92.9 | 178 | 107.9
9 | 192422E1 | 295.4 | 297.6 | Yes | 192422 E1 | 192422 E1 | Condensation | 255- |  | 164 | 131.4 | 164 | 133.6 | 174 | 123.6 | 149 | 148.6 | 147 | 150.6 | 147 | 150.6 | 142 | 155.6 | 174 | 123.6 | 163 | 122.9 | 145 | 140.9 | 139 | 146.9 | 146 | 139.9 | 155 | 130.9 | 152 | 133.9 | 155 | 130.9 | 154 | 131.9
[8 empty] | 450- |  | 168 | 127.4 | 168 | 129.6 | 174 | 123.6 | 174 | 123.6 | 172 | 125.6 | 173 | 124.6 | 171 | 126.6 | 175 | 122.6 | 177 | 120.6 | 186 | 111.6 | 186 | 111.6 | 195 | 102.6 | 190 | 107.6 | 184 | 113.6 | 177 | 120.6 | 175 | 122.6
10 | 192434D1 | 286.1 | 287 | Yes | 192434D1 | 192434D1 |  | 250- |  | 178 | 108.1 | 181 | 106 | 181 | 106 | 183 | 104 | 184 | 103 | 181 | 106 | 184 | 103 | 185 | 102 | 187 | 100 | 188 | 99 | 186 | 101 | 188 | 99 | 189 | 98 | 192 | 95 | 188 | 99 | 188 | 99
[8 empty] | 540- |  | 178 | 108.1 | 184 | 103 | 181 | 106 | 184 | 103 | 190 | 97 | 181 | 106 | 195 | 92 | 194 | 93 | 194 | 93 | 209 | 78 | 194 | 93 | 202 | 85 | 200 | 87 | 202 | 85 | 205 | 82 | 198 | 89
11 | 192425D1 | 299.2 | 299.2 | No | 192425D1 | 192425D1 |  |  |  | 167 | 132.2 | 158 | 141.2 | 159 | 140.2 | 162 | 137.2 | 164 | 135.2 | 159 | 140.2 | 162 | 137.2 | 164 | 135.2 | 166 | 133.2 | 168 | 131.2 | 168 | 131.2 | 169 | 130.2 | 168 | 131.2 | 165 | 134.2 | 163 | 136.2 | 170 | 129.2
12 | 192529N1 | 310.1 | 310.8 | Yes | 192529N1 | 192529N1 |  | 250- |  | 137 | 173.1 | 136 | 174.8 | 129 | 181.8 | 135 | 175.8 | 134 | 176.8 | 130 | 180.8 | 137 | 173.8 | 132 | 178.8 | 132 | 178.8 | 130 | 180.8 | 128 | 182.8 | 129 | 181.8 | 126 | 184.8 | 123 | 187.8 | 123 | 187.8 | 123 | 187.8
13 | 192520P1 | 318 | 318.9 | No | 192520P1 | 192520P1 |  |  |  | 40 | 278 | 32 | 286.9 | 35 | 283.9 | 33 | 285.9 | 30 | 288.9 | 27 | 291.9 | 26 | 292.9 | 25 | 293.9 | 25 | 293.9 | 26 | 292.9 | 28 | 290.9 | 32 | 286.9 | 44 | 274.9 | 57 | 261.9 | 56 | 262.9 | 63 | 255.9
Note: Lower Aquifer Values
| Map of Monitoring Wells in Google Earth: |  |  |  | TID Monitoring Wells.kmz | [30 empty] | Interpolated
Groundwater Elevation (ft)
|  |  | 2019-03-22 | 2019-04-08 | 2019-04-23 | 2019-05-06 | 2019-05-17 | 2019-05-30 | 2019-06-13 | 2019-06-27 | 2019-07-10 | 2019-07-31 | 2019-08-12 | 2019-08-27 | 2019-09-11 | 9/30/2019 JLM | 2019-10-16 | 2019-10-30
| 202407C1 | 250- | 98.1 | 97.6 | 94.6 | 100.6 | 99.6 | 94.6 | 100.6 | 102.6 | 104.6 | 105.6 | 106.6 | 105.6 | 106.6 | 95.6 | 106.6 | 103.6
|  | 540- | 86.1 | 84.6 | 83.6 | 73.6 | 68.6 | 80.6 | 79.6 | 62.6 | 61.6 | 68.6 | 68.6 | 55.6 | 56.6 | 58.6 | 60.6 | 59.6
| 212404F1 |  | 80.4 | 118.1 | 115.1 | 115.1 | 118.1 | 118.1 | 116.1 | 116.1 | 116.1 | 114.1 | 114.1 | 114.1 | 112.1 | 115.1 | 116.1 | 120.1
| 212302C1 |  | N/A | 79.8 | 80.8 | 82.8 | 81.8 | 83.8 | 85.8 | 85.8 | 86.8 | 88.8 | 90.8 | 89.8 | 92.8 | 94.8 | 95.8 | 94.8
| 212305A2 |  | 65 | 60.6 | 50.6 | 60.6 | 61.6 | 61.6 | 63.6 | 60.6 | 62.6 | 63.6 | 59.6 | 58.6 | 63.6 | 66.6 | 65.6 | 71.6
| 202201H1 |  | 77.7 | 95.4 | 107.4 | 111.4 | 114.4 | 119.4 | 124.4 | 129.4 | 131.4 | 128.4 | 128.4 | 126.4 | 122.4 | 117.4 | 119.4 | 116.4
| 192320C1 |  | 121.6 | 65.9 | 122.9 | 123.9 | 123.9 | 125.9 | 125.9 | 120.9 | 123.9 | 124.9 | 121.9 | 120.9 | 120.9 | 127.9 | 128.9 | 130.9
| 202303L1 |  | 99.8 | 103 | 91 | 102 | 103 | 86 | 82 | 107 | 104 | 108 | 108 | 112 | 112 | 113 | 98 | 113
| 192420F1 | 200- | 137.7 | 139.9 | 120.9 | 114.9 | 135.9 | 111.9 | 128.9 | 143.9 | 143.9 | 142.9 | 144.9 | 138.9 | 142.9 | 143.9 | 142.9 | 143.9
|  | 490- | 122.7 | 121.9 | 100.9 | 112.9 | 114.9 | 111.9 | 112.9 | 111.9 | 111.9 | 107.9 | 106.9 | 87.9 | 89.9 | 90.9 | 92.9 | 107.9
| 192422E1 | 255- | 131.4 | 133.6 | 123.6 | 148.6 | 150.6 | 150.6 | 155.6 | 123.6 | 122.9 | 140.9 | 146.9 | 139.9 | 130.9 | 133.9 | 130.9 | 131.9
|  | 450- | 127.4 | 129.6 | 123.6 | 123.6 | 125.6 | 124.6 | 126.6 | 122.6 | 120.6 | 111.6 | 111.6 | 102.6 | 107.6 | 113.6 | 120.6 | 122.6
| 192434D1 | 250- | 108.1 | 106 | 106 | 104 | 103 | 106 | 103 | 102 | 100 | 99 | 101 | 99 | 98 | 95 | 99 | 99
|  | 540- | 108.1 | 103 | 106 | 103 | 97 | 106 | 92 | 93 | 93 | 78 | 93 | 85 | 87 | 85 | 82 | 89
| 192425D1 |  | 132.2 | 141.2 | 140.2 | 137.2 | 135.2 | 140.2 | 137.2 | 135.2 | 133.2 | 131.2 | 131.2 | 130.2 | 131.2 | 134.2 | 136.2 | 129.2
| 192529N1 | 250- | 173.1 | 174.8 | 181.8 | 175.8 | 176.8 | 180.8 | 173.8 | 178.8 | 178.8 | 180.8 | 182.8 | 181.8 | 184.8 | 187.8 | 187.8 | 187.8
| 192520P1 |  | 278 | 286.9 | 283.9 | 285.9 | 288.9 | 291.9 | 292.9 | 293.9 | 293.9 | 292.9 | 290.9 | 286.9 | 274.9 | 261.9 | 262.9 | 255.9

## Sheet2
TID Monitoring Well 202407C1
Monitoring Well 212404F1
Monitoring Well 212302C1
Monitoring Well 212305A2
Monitoring Well 202201H1
Monitoring Well 192320C1
Monitoring Well 202303L1
TID Monitoring Well 192420F1
TID Monitoring Well 192422E1
TID Monitoring Well 192434D1
Monitoring Well 192425D1
TID Monitoring Well 192529N1
Monitoring Well 192520P1

## Sheet3
1 | 202407C1
2 | 212404F1
3 | 212302C1
4 | 212305A2
5 | 202201H1
6 | 192320C1
7 | 202303L1
8 | 192420F1
9 | 192422 E1
10 | 192434D1
11 | 192425D1
12 | 192529N1
13 | 192520P1